CITY OF KITCHENER

SITE DEVELOPMENT WORKS NOTIFICATION FORM

## FOR PROFESSIONAL ENGINEER/CONSULTANT

For item number 1a, 1b, 2a, 2b, 3, 4, 5 on the Itemized Cost Estimate Form

Date: 							 SP#:

Project Name:						Site Address:

Owner’s Name:						Time to complete inspection:

I							(name of stamping Engineer certifying the site)	of 				(consulting firm) certify to the City of Kitchener that the following Site Development Works for the grading, servicing, and storm water management scheme, as submitted and subsequently approved by the Development Services Department on __________________, has been implemented and constructed in accordance with the City approved plans and reports and any subsequent City approved amendments to such plans and reports.

| PLANS: | DATE OF ENGINEERING DRAWING ACCEPTANCE BY THE CITY | DATE OF ON-SITE COMPLETION/INSPECTION |
| --- | --- | --- |
| Grading plan |  |  |
| Servicing plan |  |  |
| SWM plan |  |  |
| SWM analysis |  |  |
| WORKS: | DOLLAR VALUE OF OUTSTANDING WORK | DATE OF ON-SITE COMPLETION/INSPECTION |

This table must be reflective of the approved LOC cost estimate.

Please note all deviations from the design drawing below (e.g. Increase in paved areas, shortage of pond volumes, roof drains, orifice installation, grade elevations at road right-of-way etc).  Additional details may be required prior to the City accepting the certification.

Any deviations from the design drawings may require either a revised Site Plan be submitted to Planning or revised Engineering Plans submitted to Engineering.

Professional Engineer/Consultant

Print Name:

Signature:

AFFIX SEAL

Date:

cc:	Owner

Landscape Architect/Consultant

Lighting Engineer/Consultant

Acoustical Engineer/Consultant

Chief Building Official, City of Kitchener

PLEASE NOTE: This document is to be submitted on the Professional Engineer’s/Consultant’s letterhead.